RS232 to RS422/485 converter

Non Power

Quick Installation Guide

Product Specifications

Communication speed Maximum 921K BPS

Connector DB9F

Circuit Protection ESD 15KV Surge Protector attached

NO operating system

Front View

How to Connect DB9F Connector

How to Connect TB7 RS422/485 Connector

Mode Change

Select between point-to-point mode and multidrop mode during the

installation of the device driver.

The default is point-to-point mode.

Method of Connecting External point-to-point

Method of Connecting multidrop

How to Connect RS485 Connector

The default is non-echo mode.

Method of Connecting

RS:120 ohm(if there is not serious noise, it is not required to add

termination resistors)

RS485, like LAN, adopts a half duplex bus where the host is not

divided from terminals.

SW SETUP